|  | FACTSHEET 05/04 Tornado Mobile Technical Specification |
| --- | --- |

| Designed to be operated in a well ventilated room an EcoCooling evaporative cooler offers a versatile and effective solution to your cooling needs. An EcoCooling Tornado evaporative cooler supplies a constant flow of naturally cooled air without the use of environmentally damaging refrigerants. Its low energy use also provides the minimum possible impact on our environment |  |
| --- | --- |
|  | Key Features ► Variable fan speed: High, medium or slow speed can be selected ► Multiple modes: Ordinary, Natural or Sleep modes available to optimise your comfort levels ► Timer: Program you cooler to run up to 8 hours ► Easy clean: Easy to remove and clean components allow you to maintain a hygienic and efficient cooler ► Easy fill: Unique removable tray allows filling directly from a tap ► Cool or Vent operation ► Automatic louvres allow you to direct the air horizontally and vertically |
| Tornado Specification Air Flow 1000 m3/hr Power input 160W Electrical Supply 240VAC Operating weight 14 KG Height 890 mm Width 450 mm Depth 390 mm Noise Level 48DbA | Remote Control Easy fill water tray |